The Underground Pipes

Resources From Microsoft Co-pilot

I want to know why underground pipes always breaks and leaks?

Underground pipes don’t “always” break, but they do fail more often than people expect because they live in a harsh, constantly changing environment. The core reason is simple: pipes are rigid, the ground is not. Everything around a buried pipe is always moving, expanding, contracting, or chemically reacting — and over years, those stresses add up.

Below is a clear, mechanism-based explanation grounded in recent sources.

## Why underground pipes break and leak (the real mechanisms)

Most failures come from 6 physical processes: shifting soil, root intrusion, corrosion, pressure stress, temperature changes, and installation defects.

### 1. Soil movement — the ground is always shifting

Underground pipes sit inside soil that expands when wet, contracts when dry, and moves during temperature changes.

- Heavy rain → soil swells

- Drought → soil shrinks

- Traffic vibration → soil compacts

- Construction → soil shifts

This movement bends or twists pipes until joints crack or separate.

### 2. Tree root intrusion — roots hunt for water

Even tiny vapor leaks attract roots. Once roots enter a small crack, they grow thicker inside the pipe, eventually breaking it open.

### 3. Corrosion — metal pipes slowly dissolve

Older pipes (cast iron, galvanized steel) corrode from:

- moisture

- soil chemicals

- sewage gases

Corrosion thins the pipe wall until holes form.

### 4. High water pressure — internal stress cracks the pipe

If pressure is consistently too high, small fractures form inside the pipe. Over years, these fractures grow into leaks.

### 5. Temperature changes — expansion and contraction

Hot water, cold soil, seasonal freeze–thaw cycles all cause pipes to expand or shrink. Rigid pipes + repeated expansion cycles = cracks.

### 6. Poor installation — the hidden cause nobody sees

Many leaks come from mistakes made on day one:

- pipes laid too shallow

- joints not sealed properly

- uneven trench bedding

- pipes forced into bending

These weak points eventually fail.

Summary

| Cause | Mechanism | Why it leads to leaks |
| --- | --- | --- |
| Soil movement | Ground shifts, bends pipe. | Cracks at joints or mid-pipe |
| Tree roots | Roots enter tiny gaps | Roots widen cracks, block flow |
| Corrosion | Metal chemically degrades | Holes form in pipe wall |
| High pressure | Internal stress | Micro-fractures grow over time |
| Temperature cycles | Expansion/contraction | Pipe material fatigues |
| Poor installation | Misalignment, weak joints | Early failure under soil load |

Will you Explain HK old district pipe failures?

### 1. Aging cast-iron and asbestos-cement pipes — brittle after 50–60+ years

Hong Kong’s older districts (Wan Chai, Eastern District, Kowloon City) still contain legacy cast-iron, ductile iron, asbestos-cement, and early steel pipes that have been in service for over 60 years.

- These materials become brittle after decades of vibration, corrosion, and pressure cycles.

- Failures are often sudden, without warning signs.

### 2. High water pressure — old pipes cannot handle modern pressure

Hong Kong’s dense vertical buildings require higher water pressure to push water up towers. Old pipes were never designed for these loads.

- Elevated pressure accelerates micro-fracture growth.

- Brittle cast-iron cracks under pressure spikes.

### 3. Saltwater corrosion — unique HK factor

Hong Kong uses saltwater for flushing, delivered through a separate pipe network. Saltwater is far more corrosive than freshwater.

- Old steel and iron pipes corrode faster.

- Corrosion thins pipe walls → leaks → bursts.

### 4. Extremely crowded underground environment — difficult to repair, easy to damage

Old districts have water mains tightly packed with:

- gas pipes

- high-voltage cables

- MTR tunnels

- storm drains

- telecom ducts

This makes emergency excavation slow and risky, and small disturbances can stress nearby pipes.

### 5. Traffic load + road vibration — constant stress from above

Busy roads like Wan Chai’s 分域街 or 荃灣德士古道 are “爆喉熱點”. Heavy vehicles create continuous vibration and soil compaction. Old pipes fatigue faster under these loads.

### 6. Leak detection difficulty — water escapes silently

In the Shau Kei Wan failure, fresh water leaked directly into storm drains, flowing to the sea without surfacing. This delayed detection and repair.

What can be done to avoid or lessen the cracks or leaks on the pipes?

### 1. Use HDPE pipes

Hong Kong Water Supplies Department already uses HDPE for new installations. Benefits:

- flexible

- corrosion-proof

- handles soil movement

- long lifespan (50–100 years)

### 2. Use proper bedding and backfill

The soil around the pipe matters more than the pipe itself. Sand or fine gravel around the pipe to distribute load evenly.

### 3. Use flexible joints

Stops leaks caused by ground movement.

### 4. Cathodic protection for metal pipes

Prevents corrosion far better than wrapping.

5. Make the water systems to use pressure-control devices that keep pressure low enough so pipes don’t crack:

- Pressure reducing valves (PRVs)

  - Installed at key points in the network.

  - They drop high upstream pressure to a safe downstream level.

  - Work continuously, not just during emergencies.

- Surge control / water hammer protection

  - Air chambers, surge tanks, or special valves absorb sudden spikes when pumps start/stop or valves close.

  - This directly targets the “shock” that breaks brittle pipes.

- Zoned pressure management

  - City is divided into zones with different target pressures.

  - High-rise areas get higher pressure; old low-rise districts get lower, safer pressure.

  - This is already being done in many places, including Hong Kong.

- Smart monitoring + automatic control

  - Sensors measure pressure and flow.

  - Control valves adjust pressure in real time to avoid spikes.